# A MODEL FORM

# FOR DEVELOPING A

MATERIALS MANAGEMENT PLAN

FOR REGULATED ACTIVITIES IN

AQUIFER PROTECTION AREAS

August 2011

DEPARTMENT OF ENERGY & ENVIRONMENTAL PROTECTION

BUREAU OF WATER PROTECTION AND LAND REUSE

PLANNING AND STANDARDS DIVISION

AQUIFER PROTECTION AREA PROGRAM

79 ELM STREET, HARTFORD, CT 06106

Instructions

This model document was prepared by the Department of Energy and Environmental Protection to assist you in complying with the requirements of the Aquifer Protection Area Program. The document provides a general form for developing and implementing a site-specific Materials Management Plan (MMP) for regulated activities conducted at facilities in aquifer protection areas.

This document is an example of what a Plan might look like.  Depending on the business or industry you are in, your own plan may be different.  The Plan has eight sections including:

Section 1 – Facility and Site Information

Section 2 – Tables

Section 3 – Emergency Response Plan

Section 4 – Employee Training

Section 5 – Record Keeping System

Section 6 – Individual Responsible for Implementing MMP

Section 7 – Additional Protection Actions

Section 8 – Certification

Please keep in the following in mind when completing the Plan:

- If any section does not apply to your facility, state that it is not applicable.  Do not skip it or leave it blank.

- You do not need to type your forms as long as they are legible.

- If other similar information has already been prepared for the site for other purposes (i.e. site plans, emergency response procedures, spill plans, etc) and meets the MMP requirement, it may be submitted as an attachment instead of the MMP form.

Once the Plan is complete, you are required by the Aquifer Protection Area Program to keep your Materials Management Plan on file at your facility and use it to assist you in controlling inventory of hazardous materials, monitoring and inspecting your site operations, responding to an emergency and training employees.

Keep the Plan up to date!   By using common sense, good housekeeping and by following your Plan, pollutants that could potentially contaminate ground water can be managed or eliminated without significant cost. Remember, it costs less to keep pollutants out of the ground water than to remediate later!

Below are some phone numbers you may find useful in assembling your Plan.

Aquifer Protection Area Program: 860-424-3020 (for any questions specific to completing the Plan, its format or its contents)

Pollution Prevention: 860-424-3297 (for any question about pollution prevention or best management practices)

Bureau of Materials Management and Compliance Assistance: 860-424-3023 (for any questions about spills, hazardous materials, waste engineering and enforcement)

Wastewater Permitting and Enforcement: 860-424-3018 (for any questions about floor drains or waste water discharges)

##### Emergency Response and Spill Prevention

Emergency Line: 860-424-3333 OR 860-424-3338 (to report spills)

General Information: 860-424-3024 (for questions on underground storage tanks or spill preparedness)

Aquifer Protection Area Materials Management Plan (MMP)

SECTION 1 – FACILITY AND SITE INFORMATION

Facility Information

Facility Name:  _____________________________________	Date of Plan: ___________

Facility Address: _____________________________________________________________

_________________________________________________________________________

Contact Name:  ______________________________________________________________

Title:  _________________________________	Phone:  ________________________

Type of Business: ____________________________________________________________

Standard Industrial Code (SIC) (if known): _____________________

Products and Services Produced: ________________________________________________

_________________________________________________________________________

_________________________________________________________________________

__________________________________________________________________________________

_________________________________________________________________________

Site Information

Property size: ______________________________________________________________

Number and size of buildings/ storage areas: ________________________________________

__________________________________________________________________________________

__________________________________________________________________________________

Number and size of paved surfaces: ______________________________________________

_________________________________________________________________________

_________________________________________________________________________

Number of employees: ________________________________________________________

Aquifer Protection Area Materials Management Plan (MMP)

SECTION 1 (CONT.)

Site Map

Attach a site map of the facility and label it “Figure 1”.

The following is a list of items that if applicable to your facility should be included on 
your site map:

	Site boundary

- Outline of buildings, sheds or other storage structures, pavement

	Stormwater structures, controls, and drainage flow direction

- Location of fueling stations

- Location of loading/unloading areas

- Location of wastewater disposal systems- sewer line or septic system

- Location of waste storage and disposal areas including- dumpsters, used oil 
storage tanks, and other waste storage

- Location of liquid storage areas including- underground and above ground storage tanks,
 and their filling and discharging or distribution lines

- Location of any other outdoor structures or processing service areas that may 
impact groundwater or have materials exposed to precipitation

Aquifer Protection Area Materials Management Plan (MMP)

SECTION 1 (CONT.)

Process Flow Diagram

Attach a building plan or diagram showing the site operations and label it “Figure 2”.

Identify the following on your building floor plan or diagram:

- Hazardous materials and hazardous waste storage areas

- Hazardous materials and hazardous waste transfer, handling, and processing areas

- Waste water generation areas, collection lines, and disposal areas including floor drains, sinks, sewer line or septic system connections

- Hazardous materials delivery routes, and hazardous waste transport through the site

- Designated loading and unloading areas, tank filling operations, and holding areas

- Location of vehicle and equipment maintenance and cleaning areas

- Location of roof areas that may be subject to chemical exhaust or drippage (do not include heating/ventilation/air conditioning (HVAC) condensate)

Note: For small or simple sites, information for site map and process flow diagram may 
be combined into one figure.

Aquifer Protection Area Materials Management Plan (MMP)

### SECTION 2 – TABLES

### Table 1.  Hazardous Material Inventory				Date of Inventory   ________________________

Provide an inventory of all hazardous materials that could potentially pollute ground water. List hazardous materials that are handled or stored on site including: raw materials, intermediate products, final products and other materials.

| Hazardous Material Type | Purpose / Description | Location | Container Type | Container Size | Maximum Quantity Stored |
| --- | --- | --- | --- | --- | --- |

Aquifer Protection Area Materials Management Plan (MMP)

### SECTION 2 (CONT.)

### Table 2.  Waste and Wastewater Inventory				Date of Inventory ______________________

Provide a description of all types and volumes of hazardous and solid wastes and wastewaters generated, and a description of how

wastes are handled, stored and disposed.

| Waste and Wastewater | Purpose / Description | Location | Quantity Stored / Generated | Disposal Method |
| --- | --- | --- | --- | --- |

Aquifer Protection Area Materials Management Plan (MMP)

SECTION 2 (CONT.)

Table 3.  Potential Pollution Sources and Protection Measures 			Date ____________

Provide a description of measures and controls used to prevent and abate any releases or spills which could cause pollution of the aquifer including design structures and controls, procedures, good housekeeping and preventive maintenance.

| Potential Pollution Source | Control/Protection Measures | Future Preventive Practices |
| --- | --- | --- |

Aquifer Protection Area Materials Management Plan (MMP)

SECTION 2 (CONT.)

Table 4.  Pollution Prevention Assessment			Date of Assessment  ___________________

Provide an assessment of ways you have examined to use less hazardous types of material, reduce the amount of hazardous materials and wastes, and the potential to implement such actions.

| Material | Substitute Less Hazardous or Non-Hazardous Material | Process or Practice to Reduce Hazardous Materials or Hazardous Waste Generation | Action Implemented or Reason Not Implemented |
| --- | --- | --- | --- |

Aquifer Protection Area Materials Management Plan (MMP)

SECTION 2 (CONT.)

Table 5.  List of Significant (> 5 gallons) Spills and Leaks

Document any significant spills or leaks and any response and correction measures taken. Call DEEP Waste Management Bureau at

860-424-3372 for questions about pollution potential of spilled materials and proper disposal of spilled materials or wastes.

| Date | Spill | Leak | Location | Description |  |  |  | Response Procedures | Corrective Measures Taken |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (MM/DD/YY) | (check one) |  |  | Type of Material | Quantity | Source | Reason |  |  |
| Date | Spill | Leak | Location | Description |  |  |  | Response Procedures | Corrective Measures Taken |
| (MM/DD/YY) | (check one) |  |  | Type of Material | Quantity | Source | Reason |  |  |
| Date | Spill | Leak | Location | Description |  |  |  | Response Procedures | Corrective Measures Taken |
| (MM/DD/YY) | (check one) |  |  | Type of Material | Quantity | Source | Reason |  |  |

Aquifer Protection Area Materials Management Plan (MMP)

SECTION 2 (CONT.)

Table 6.  Inspections

Identify high-risk activities and critical areas of the facility that could pollute the aquifer and require regular or special inspection including: storage areas, loading areas, drains, containment areas, waste areas, and any other area of concern. The areas identified should be inspected for evidence of leaks/spills, integrity/condition, and maintenance and housekeeping. Inspection reports must be kept on file with the Plan.

| Area to be Inspected | Inspection Schedule | Checked for leaks, conditions, maintenance | Problems? |  | If yes, describe action taken | Date of Last Inspection |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Y | N |  |  |

Aquifer Protection Area Materials Management Plan (MMP)

SECTION 3

Emergency Response Plan

Provide an emergency spill prevention and response plan.  You may reference any Spill Prevention Countermeasure Control Plan or other Spill Plan that you have as long as the plan includes the items below. Your Plan must include, at a minimum, the following:

Response Procedures

Identify where spill response equipment or materials are located and appropriate personnel who are instructed in its use:

_____________________________________________________________________

_____________________________________________________________________

_____________________________________________________________________

Identify the spill coordinator who will be advised immediately of all spills, regardless of quantity:

____________________________________________________________________________

______________________________________________________________________________

______________________________________________________________________________

Indicate how the spill will be evaluated to determine the necessary response. (If there is a health hazard, fire, or explosion potential, 911 will be called. If the spill is large or threatens ground water, the DEP Oil and Chemical Spills Unit will be called at 860-424-3338. Any questions on pollution potential of spilled materials and proper disposal of spilled materials or wastes should be directed to DEEP Waste Management Bureau at 860-424-3372.)

____________________________________________________________________________

____________________________________________________________________________

____________________________________________________________________________

Indicate how the spill will be contained as close to the source as possible with a dike of absorbent materials from the emergency spill kit (such as socks, pads, pillows or “pigs”), how additional dikes will be constructed to protect swales, catch basins or other conveyances:

_____________________________________________________________________

_____________________________________________________________________

_____________________________________________________________________

_____________________________________________________________________

Aquifer Protection Area Materials Management Plan (MMP)

SECTION 3 (CONT.)

Emergency Response Plan

Response Procedures (continued)

Indicate how all waste material will be disposed of properly, including used absorbent materials. (The DEEP will be called at 860-424-3372 for any questions about proper disposal of hazardous or regulated wastes.)

______________________________________________________________________

Indicate how spill response kit(s) will be kept up to date and fully stocked at all times: __________

Aquifer Protection Area Materials Management Plan (MMP)

SECTION 4

EMPLOYEE TRAINING

It is the responsibility of the facility operator to ensure that employees are trained in materials management. All employees will be trained annually and new hires will be trained within 30 days of starting. Training logs will be kept.

Training Date: ___________________________________________________________

Trainer Name/Title: ________________________________________________________

Topics Covered: ( all applicable)

  - Purpose and requirements of the Materials Management Plan

  - Employees responsibilities

  - Facility site plan and location of all hazardous materials

  - Proper waste collection and disposal procedures of materials

  - Spill prevention and response procedures and equipment

  - Good housekeeping practices and preventive maintenance

  - Reporting procedures

  - Other measures and controls

Employees in attendance:

| PRINT NAME | SIGN NAME |
| --- | --- |

Comments:______________________________________________________________________

_______________________________________________________________________________

_______________________________________________________________________________

_______________________________________________________________________________

Aquifer Protection Area Materials Management Plan (MMP)

SECTION 5

Record Keeping System - Accounting and Tracking of Materials

Identify how you will track materials and account for any abnormal losses.

Maintain product Material Safety Data Sheets (MSDS): _____________________________

_____________________________________________________________________

_____________________________________________________________________

_____________________________________________________________________

Maintain hazardous waste manifests: __________________________________________

_____________________________________________________________________

_____________________________________________________________________

______________________________________________________________________

Ensure materials and waste containers are properly labeled: __________________________

______________________________________________________________________

______________________________________________________________________

_______________________________________________________________________

Mark purchase date on materials: _____________________________________________

______________________________________________________________________

______________________________________________________________________

Control access to materials that are hazardous: ___________________________________

______________________________________________________________________________

Maintenance of Spill Logs: __________________________________________________

______________________________________________________________________________

Other: ________________________________________________________________

Aquifer Protection Area Materials Management Plan (MMP)

SECTION 6

INDIVIDUAL RESPONSIBLE FOR IMPLEMENTING MMP

Identify the person who will be responsible for implementing the plan.

Contact Information

Name:  ___________________________________	Title:  _________________________

Phone:   __________________________________

Street Address: ________________________________________________________________

City: ______________________________  State: _________ Zip Code: ___________________

Mailing Address: _______________________________________________________________

City: ______________________________  State: _________ Zip Code: ___________________

Mailing Address: _______________________________________________________________

City: ______________________ ________State: _________ Zip Code: ___________________

Emergency Contact Information

Identify the emergency contact person who will be advised immediately of all spills, regardless of quantity.

Name:  ______________________________________________________________________

Phone:   _____________________________________________________________________

List additional emergency contact numbers.

DEEP Oil and Chemical Spills Unit:   860-424-3338

Water Utility: _________________________________________________________________

Other: _______________________________________________________________________

_____________________________________________________________________________

Aquifer Protection Area Materials Management Plan (MMP)

SECTION 7

ADDITIONAL PROTECTION ACTIONS

Use this section to list any other current measures, improvements, or modifications in practices, procedures, or structures that are needed to ensure compliance or to ease registration/permit requirements.

_

Aquifer Protection Area Materials Management Plan (MMP)

SECTION 8

CERTIFICATION

You must certify your plan by signing and dating it.  A Connecticut licensed Professional Engineer or Certified Hazardous Materials Manager may have to certify your Plan if the DEEP or the local Aquifer Protection Agency requires certification. You may obtain a list of consultants registered with the State of Connecticut by contacting the Bureau of Water Protection and Land Reuse at 860-424-3018 and asking for the Engineer of the Day.

Your Plan must be re-certified when there are substantial changes to the facility that would cause significant revisions to the plan and potential impacts. An example of a substantial change would be an addition to the facility that included an additional process or change in the activity at the facility. If you have any questions as to whether or not a change is “substantial”, please contact the DEEP Aquifer Protection Area Program at 860-424-3020.

### Certification by owner/operator

"I certify that the materials management plan prepared for this site meets the criteria set forth in Sections 22a-354i-8(c) or 7(d) of the Aquifer Protection Area Regulations. This certification is based on my review of the materials management plan for the site and an inspection of the site.  I am aware that there are significant penalties for false statements in this certification, including the possibility of fine and imprisonment for knowingly making false statements."

_________________________________				_______________

Owner/Operator Signature  					   	   Date

_________________________________

Owner/Operator Name (printed or typed)

Certification by professional engineer

"I certify that, in my professional judgment, the materials management plan prepared for this site meets the criteria set forth in Sections 22a-354i-8(c) or 7(d) of the Aquifer Protection Area Regulations. This certification is based on my review of the materials management plan for the site and an inspection of the site.  I am aware that there are significant penalties for false statements in this certification, including the possibility of fine and imprisonment for knowingly making false statements."

____________________________			___________________

P.E. Signature       						P.E. Number and Seal

____________________________			___________________

P.E. Name (printed or typed)				Date