Non-Community Phase I-A Certificate of Public Convenience and Necessity (CPCN)

# Average Daily Demand (ADD) Calculation Worksheet for Item #4

The average daily demand (ADD) in gallons per day (GPD) for a system shall be calculated based on “Design Flows” identified in Section IV of the most recent revision of the “Technical Standards for Subsurface Sewage Disposal Systems”.  Documentation from the local building official for the town in which the project is to be constructed with regards to the use of building space may be necessary to determine the design flow.  If demonstrated to and approved by the DPH, historic or available water use data for a specific facility times a safety factor of 1.5 may be used in lieu of calculated daily design flows.

The most recent version of the Technical Standards referenced above is 1/1/2004, and are available by using this link:

http://www.ct.gov/dph/lib/dph/environmental_health/environmental_engineering/pdf/Technical_Standards_2011Final_Master.pdf

The “# Persons” is the number of pupils, employees, camp spaces, beds, seats, etc. as indicated on the Design Flows table in the Technical Standards.  Indicate which category used.  If more than one category is used, calculate each category separately and sum.

Is historic or other available water use data being used in lieu of calculated design flows (Y/N)?

If yes, submit justification for the use of that data and use the following calculation:

ADD:      		  X  1.5 (factor of safety) =

If using the referenced technical standards, use the following table for calculating the ADD.

| # Persons |  | GPD per person (from Tech. Stds.) |  | Total GPD |
| --- | --- | --- | --- | --- |
| Category: |  |  |  |  |
|  | X |  | = |  |
| Category: |  |  |  |  |
|  | X |  | = |  |
| Category: |  |  |  |  |
|  | X |  | = |  |
| Category: |  |  |  |  |
|  | X |  | = |  |
| Category: |  |  |  |  |
|  | X |  | = |  |
|  |  | Total projected ADD | = |  |