DESIGNER EDIT GUIDE FOR FORM 816 ARTICLE 1.20 AND BOILERPLATE

Article 1.20 has been developed using the ARCOM MasterSpec CSI Sections edited to align with the Form 817 for the typical Facilities Design projects.

Article 1.20 has been written assuming that no winter shutdown is required on projects.  Should a winter shutdown be required on a specific project, the Boilerplate needs to remove the following sections:

- 1.20-1.03.08

- 1.20-1.08.07

- 1.20-1.08.08

- 1.20-1.08.09

Notice to Contractor’s are not Special Provisions so they carry no weight.

Replace the following Notice to Contractor’s with notes on the plans or within the Article 1.20 BoilerPlate:

- Engineer Occupancy

- Limitation of Contractor Operations

- Phasing

The following topics have been excluded from these documents and would therefore need to be addressed by the Designer of the appropriate project:

- Construction Manager Language throughout Division 1

- Sustainable Design Requirements throughout Division 1

- Commissioning throughout Division 1

- 013100 – Project Management and Coordination (Project Web site, electronic coordination drawings, BIM)

- 013233 – Photographic Documentation (Preconstruction video recordings, periodic construction video recordings, Web-based construction photographic documentation)

- 014000 – Quality Requirements

- 017823 – Operation and Maintenance Data (Electronic O&M’s)