[EXAMPLE]

State Project No. 162-147

#### RENOVATION OF A REPAIR AND MAINTENANCE FACILITY

#### TOWN OF WINCHESTER

DESIGN REPORT

The Project consists of the renovation of a Repair and Maintenance Facility located on Route 800 in Winchester, Connecticut.  The building is a single story facility composed of (15) maintenance vehicle bays, (8) vehicle repair bays, (2) specialty repair bays, (1) repair weld shop, (1) Stores stockroom, and an office area.  The building is steel frame construction with exterior steel siding and brick.

The work includes concrete, masonry/split face masonry cavity walls, structural steel, steel joists, metal roof deck, waterproofing, fireproofing, insulated four-ply built-up roofing, membrane roofing, roofing accessories, sheet metal, standard steel doors and frames, overhead coiling doors, aluminum windows, hardware, glazing, interior finishes and furnishings including horizontal louver blinds and kitchen casework, interior gypsum partitions, plumbing, prefabricated paint spray booth structure, heating-ventilating-air conditioning, electrical systems, lighting, communications systems, and electronic safety and security systems.  The work also includes the replacement of the salt shed roof.

Site work associated with this facility consists of excavation and grading work to accommodate the building addition; removal and disposal of existing pavement; demolition and proper disposal of elements of the existing facility, salt shed, and the waste holding tanks; installation of water service to the DOT and DMV facilities; installation of a sanitary sewer and forcemain; installation of new pavement; installation of oil-water separators; and fencing.

Environmental work associated with this facility consists includes work with polluted soils and groundwater.  Such work will also include lead and asbestos abatement and the removal and disposal of regulated items removed during the facility renovation, such as lights, ballasts, thermostats, and other similar items.

Permits:	[LIST ENVIRONMENTAL PERMITS]

Cost Code “[F]”

PROJECT SCOPE CODES FROM CONTRACTS, LIST REVISED 1/13/09

CODE	FROM	TO

“A”	LESS THAN	$100,000

“B”	$100,000	$199,999

“C”	$200,000	$499,999

“D”	$500,000	$999,999

“E”	$1,000,000	$2,499,999

“F”	$ 2,500,000	$4,999,999

“G”	$5,000,000	$7,499,999

“H”	$7,500,000	$9,999,999

“I”	$10,000,000	$14,999,999

“J”	$15,000,000	$19,999,999

“K”	$20,000,000	$29,999,999

“L”	$30,000,000	$39,999,999

“M”	$40,000,000	$59,999,999

“N”	$60,000,000	$89,999,999

“O”	$90,000,000	$119,999,999

“P”	$120,000,000	$159,999,999

“Q”	$160,000,000	$199,999,999

“R”	$200,000,000	$249,999,999

“S”	$250,000,000	$299,999,999

“T”	$300,000,000	$399,999,999

“U”	$400,000,000	$499,999,999

“V”	$500,000,000	$599,999,999

“W”	$600,000,000	AND OVER