NOTICE TO CONTRACTOR – PROJECT DESCRIPTION

The Project consists of the [demolition, construction, renovation, etc.] of [type of project] located at [location] in [town], Connecticut as shown and described in the Contract.

[This paragraph describes the type of work included in the Project including a general listing of material type construction.  An example is described below.]

Building work for the Facility consists of the renovation of a single story facility composed of (15) maintenance vehicle bays, (8) vehicle repair bays, (2) specialty repair bays, (1) repair weld shop, (1) Stores stockroom, and an office area.  The building is steel frame construction with exterior steel siding and brick.

The work includes concrete, masonry/split face masonry cavity walls, structural steel, steel joists, metal roof deck, waterproofing, fireproofing, insulated four-ply built-up roofing, membrane roofing, roofing accessories, sheet metal, standard steel doors and frames, overhead coiling doors, aluminum windows, hardware, glazing, interior finishes and furnishings including horizontal louver blinds and kitchen casework, interior gypsum partitions, plumbing, prefabricated paint spray booth structure, heating-ventilating-air conditioning, electrical systems, lighting, communications systems, and electronic safety and security systems.  The work also includes the replacement of the salt shed roof.

[Add additional paragraphs as necessary to describe additional buildings or elements that are included as part of the Project.]

[This paragraph describes site work related elements.  An example is described below.]

Site work associated with the new Highway and Electrical Maintenance Facility and Salt Shed Facility consists of excavation and grading work to accommodate the building; removal and disposal of existing pavement; demolition and proper disposal of the existing maintenance facility, salt shed, jet hanger, and motor fuel island; regrading of site for storm runoff; installation of drainage structures; installation of new pavement; installation of a fuel island; the maintenance facility structure; the salt storage facility structure; curbing; fencing; landscaping; and exterior site lighting.

[This paragraph describes the Environmental Compliance related elements.  For example, the need for soil/groundwater remediation or for lead/asbestos abatement]

Environmental work associated with this facility consists includes work with polluted soils and groundwater, as further specified in the NOTICE TO CONTRACTOR – ENVIRONMENTAL INVESTIGATIONS.  Such work will also include lead and asbestos abatement and the removal and disposal of regulated items removed during the facility renovation, such as lights, ballasts, thermostats, and other similar items as indicated in the NOTICE TO CONTRACTOR – HAZARDOUS MATERIALS INVESTIGATION.