NOTICE TO CONTRACTOR – Sole source PRODUCTS

[Include this Notice to Contractor when the Facilities Design Project Manager has received prior written authorization from the Chief Engineer to include a sole source product in the Project.]

For operational purposes, the Department has determined the need to sole source products specified in the following Contract provisions (including specific CSI-formatted Specifications contained within a particular Special Provision):

[Revise this sample list for each Project.]

- Automated Fuel Management System: [Division 13 Section 132160][Item #0100070A], “Installation of New Fuel Facility.”

- HVAC Controls: Division 23 Section 230900, “Instrumentation and Control for HVAC.”

- Voice and Data Jacks: Division 27 Section 270000, “Premises Telephone Wiring.”

No “Or Equals” will be permitted.  Said products shall be installed only by their factory authorized installer or service representative.  The Contractor shall bid the Project accordingly.