NOTICE TO CONTRACTOR – POTENTIAL FOR ASBESTOS CONTAINING MATERIALS

The Contractor shall submit manufacturer certification letters for all materials specified in the following Contract provisions (including CSI-formatted specifications contained within a particular special provision):

[Revise this list as required.  Add clarity to the list when only a specific material is required.  Materials to be concerned with are typically insulating, sealing, and heating related, but also include floor tile, waterproofing materials, mastics and adhesives, flexible gaskets, and related items that allow movement between surfaces.  This list is essentially based upon a Maintenance Facility.]

- Division 07 Section 071113, “Bituminous Dampproofing.”

- Division 07 Section 071900, “Water Repellents.”

- Division 07 Section 072100, “Thermal Insulation.”

- Sealants: Division 07 Section 074213, “Metal Wall Panels.”

- Adhesives, Insulation, Cover Board, Expansion Joints: Division 07 Section 075419, “Polyvinyl Chloride (PVC) Roofing.”

- All products but Sheet Metals, Fasteners: Division 07 Section 076200, “Sheet Metal Flashing and Trim.”

- All products but Metals, Fasteners: Division 07 Section 077100, “Roof Specialties.”

- Felt, Gaskets, Sealants, Roof Hatch Insulation: Division 07 Section 077200, “Roof Accessories.”

- Division 07 Section 078413, “Penetration Firestopping.”

- Division 07 Section 078446, “Fire-Resistive Joint Systems.”

- Division 07 Section 079200, “Joint Sealants.”

- Glazing Strips and Sealants: Division 08 Section 085113, “Aluminum Windows.”

- Glazing Strips and Sealants: Division 08 Section 085123, “Steel Windows.”

- Glazing Tapes and Sealants: Division 08 Section 088000, “Glazing.”

- Division 09 Section 092900, “Gypsum Board.”

- Division 09 Section 093000, “Tiling.”

- Division 09 Section 095123, “Acoustical Tile Ceilings.”

- Tapes and Adhesives: Division 10 Section 101400, “Signage.”

- Adhesives: Division 12 Section 123530, “Casework.”

- Division 22 Section 220523, “General-Duty Valves for Plumbing Piping.”

- Division 22 Section 220719, “Plumbing Piping Insulation.”

- Division 22 Section 221116, “Domestic Water Piping.”

- Water Heaters: Division 22 Section 223400, “Fuel-Fired, Domestic Water Heaters.”

- Division 23 Section 230523, “General-Duty Valves for HVAC Piping.”

- Division 23 Section 230713, “Duct Insulation.”

- Division 23 Section 230719, “HVAC Piping Insulation.”

- Gaskets: Division 23 Section 232113, “Hydronic Piping.”

- Sealants: Division 23 Section 233113, “Metal Ducts.”

- Flexible Connectors and Ducts: Division 23 Section 233300, “Air Duct Accessories.”

- Division 23 Section 235100, “Breechings, Chimneys, and Stacks.”

- Division 23 Section 235223, “Cast-Iron Boilers.”

- Division 23 Section 237413, “Package, Outdoor, Central-Station Air Handling Units.”

- Division 26 Section 260519, “Low-Voltage Electrical Power Conductors and Cables.”

- Division 26 Section 260544, “Sleeves and Sleeve Seals for Electrical Raceways and Cabling.”

The above list may not be all-inclusive and does not relieve the Contractor from its responsibility to provide manufacturer certification letters that are required under other Contract provisions.  Furthermore, the Department may at any time require the Contractor to submit manufacturer certification letters proving that other materials do not contain asbestos.