NOTICE TO CONTRACTOR – PRE-INSTALLATION MEETINGS

The Engineer will conduct a pre-installation meeting at the Project Site before each of the following construction activities:

[Revise this list for each Project.  This list is based on a Maintenance Facility.]

- Predemolition: Form 817 Article 1.20-1.08.03 – Prosecution of Work, subsection 5 – Selective  Demolition.

- Concrete: CSI Division 3 Section 033000, “Cast-In-Place Concrete.”

3.	Thermal and Moisture Protection: CSI Division 7 Section 073113, “Asphalt Shingles.”

4.	Roofing: CSI Division 7 Section 074113, “Metal Roof Panels.”

5.	Siding: CSI Division 7 Section 074213, “Metal Wall Panels.”

6.	Roofing: CSI Division 7 Section 075113, “Built-Up Asphalt Roofing.”

7.	Roofing: CSI Division 7 Section 075419, “Polyvinyl-Chloride (PVC) Roofing.”

9.	Roofing: CSI Division 7 Section 076100, “Sheet Metal Roofing.”

8.	Testing, Adjusting, and Balancing: CSI Division 23 Section 230593, “Testing, Adjusting, and Balancing for HVAC.”

9.	Building Automation System: CSI Division 23 Section 230900, “Instrumentation and Control for HVAC.”

The above list may not be all-inclusive and does not relieve the Contractor from its responsibility to provide pre-installation meetings that are required under other Contract provisions.