NOTICE TO CONTRACTOR – UTILITY SERVICE CONNECTIONS [and relocations]

[Edit the following NTC for the Project.  A sample guideline is provided below.]

The [Include all applicable utilities in the following list: electric, telephone, gas, water (including fire protection), and sewer] services to the Project Site require service connections [and/or relocations from/to] the applicable utility company’s facilities.  Utility service connection [relocations and] installations to the point of the utility service are included as shown and described within the Contract.

Unless otherwise noted, the Contractor is responsible for notifying each utility company a minimum of [4] weeks’ notice prior to the need for the utility to perform any work, and for coordinating the service connection [and/or relocation] requirements with the utility company.  The Contractor shall coordinate with the following utility companies:

[Include all applicable utilities below.]

Water:	[Insert Utility Company Name]

Sewer:		[Insert Utility Company Name]

Gas:		[Insert Utility Company Name]

Electric:	[Insert Utility Company Name]

Telephone:	[Insert Utility Company Name]

Cable:		[Insert Utility Company Name]

[Other]:	[Insert Utility Company Name]

Where known, utility company representative names are identified within the Contract.

Item No. 1700001A – Service Connections (Estimated Cost) is included in the Contract to reimburse each utility for their work that is required to support Contract work.  Refer to the CSI Specification Sections referenced below for additional information in this regard.

[Include all applicable utilities below.]

Water:

Sewer:

Gas:		CSI Section 221100, “Plumbing Systems Pipe, Fittings and Valves.”

Electric:	CSI Section 262713, “Electricity Metering.”

Telephone:	CSI Section 270000, “Premises Voice/Data/CATV Wiring.”

Cable TV:	CSI Section 270000, “Premises Voice/Data/CATV Wiring.”

Other:

[Include any other project specific information deemed to be required.]