NOTICE TO CONTRACTOR – EXISTING SURVEY GPS SYSTEM

[Retain if applicable.  Revise for the Project.]

The Contractor is hereby advised of the presence of an existing survey GPS system at the Winchester Repair and Maintenance Facility.  This system consists of the following major elements:

Antenna Mounted to Roof Parapet Wall

Antenna Cable

GPS Equipment Cart

Dedicated Electrical Receptacle for Power

(3) Telecommunications Outlets

With the exception of two (2) one-day shutdowns to relocate system components, this system shall be operational at all times throughout construction and shall be accessible by Department personnel at all times.  The Contractor shall install and test all power and telecommunications receptacles and have them accepted by the Engineer prior to the relocation of the GPS Equipment Cart.

The first relocation will move the GPS Equipment Cart from the Office Area to the location shown on the plans in the Repair Bays.  The Owner will relocate the existing Tool Crib.  The existing antenna cable includes an additional 34 feet to support said relocation without purchasing new cable.  The antenna shall not be relocated.  The GPS Equipment Cart is on wheels.

The second relocation will move the GPS Equipment Cart from the Repair Bays to the GPS Room in the Office Area.  Again, the existing antenna cable is of sufficient length to support said relocation without purchasing new cable.  The antenna shall not be relocated.

The Contractor will provide the Engineer with a minimum of 7 calendar days’ notice of the need to relocate the system components.  The Engineer will coordinate interruption of the system operation with Mr. Robert Baron of Central Surveys and Mr. Jim Goodwin of Information Systems.

The Contractor shall bid the project accordingly.