ITEM # 1600002A – FUEL ADJUSTMENT COST

Description:  This Item is included in the Contract to reimburse the Contractor for purchasing [gasoline, diesel fuel, E85 ethanol, fuel oil, and propane] as required to support Contract work.  Refer to the CSI Sections referenced below for additional information in this regard.

[Include all applicable CSI Sections.]

Motor Fuel Island:	CSI Section 132160, “Installation of New Fuel Facility.”

Fuel Oil:	CSI Section 231113, “Facility Fuel-Oil Piping”

Propane:		CSI Section 231126, “Facility Liquefied-Petroleum Gas Piping”

Generator: 		CSI Section 263213, “Engine Generators”

Materials:  The Contractor shall provide fuels that conform to the requirements of the referenced CSI Sections.  A sample from each tanker shall be tested to confirm the product’s conformance to the Contract requirements UNLESS the fuel is supplied by one of the Department’s current fuel vendors.  The sample shall be taken in the presence of the Engineer.

Construction Methods:  The Contractor shall fill all tanks to 90% of the rated capacity.  The fuel shall remain in the storage tanks and shall become the property of the Engineer upon the acceptance of the Project.  The Contractor is responsible for the fuel, including any leaks and spills until the Engineer accepts the Project.

Method of Measurement:  The work and materials shall be measured for payment as provided for under Article 1.20-1.04.05 Extra Work.

The sum of money shown on the estimate and in the itemized proposal as "Estimated Cost" for this work will be considered the price bid even though payment will be made only for actual work performed.  The estimated cost figure is not to be altered in any manner by the bidder.  Should the bidder alter the amount shown, the altered figure will be disregarded and the original price will be used to determine the total amount for the contract.

Basis of Payment:  This work will be paid as Extra Work.

Pay Item							Pay Unit

Fuel Adjustment Cost						Estimated Cost