NOTICE TO CONTRACTOR – RECENT REVISIONS

The Contractor is hereby notified that the following Traffic Engineering Special Provisions have been revised:

Section 10.00 – General Clauses for Highway Illumination and Traffic Signal Projects

- Updated as-built plan requirements

1105xxxA – X_Way_X_Section Traffic Signal:

- Changed the color of housing, brackets, and hardware

- Clarified color of housing door and visor.

- Backplates:

- changed to louvered

- changed retroreflective strip sheeting type

- changed aluminum alloy to 5052-H32

- provided range for acceptable thickness

1106xxxA – X_Way_Pedestrian Signal:

- Changed the color of housing, brackets, and hardware

- Clarified color of housing door and visor

1107007A – Pedestrian Pushbutton and Sign (Piezo)

- Changed the color of housing, brackets, and hardware

1107011A – Accessible Pedestrian Signal and Detector (Type A)

- Changed the color of housing, brackets, and hardware

- Changed the sign size to 9” x 15”

- Changed to include confirmation light

1112286A – 360 Degree Camera Assembly

1112288A – IP Video Detection Camera Assembly

- Added installation best practices guide

The Contractor is hereby notified that Traffic Engineering’s following Standard Sheets have been revised:

TR-1105_01 – Traffic Signals and Cable Assignments

- Revised grounding note for span and other minor revisions

TR-1107_01 – Pedestrian Push Buttons

- Updated pedestrian sign legends and notes.

TR-1114_01 – Bonding and Utility Pole Attachment Details, Sign Hanger, “Y” Clamp Detail

- Revised wood pole grounding details, added ground rod.

The Contractor is hereby notified that Traffic Engineering’s following guide sheets are included:

GS_Light Standard and Foundation

- Added J-Hook Mounting Detail.

- Added Aluminum Light Standard Base showing Grounding Lug Detail.

GS_Trenching and Backfilling

- Revised Pavement – Bituminous Concrete or Overlayed Portland Cement Concrete

- Revised granular fill and overlay requirements.